## Slide 1: PID Control

## Slide 2: What is it?
Proportional, integral, derivative
Control system

## Slide 3: Plot of error over time
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Error | 1.3749 | 1.0533 | 0.94578 | 1.6797 | 1.4928 | 0.97106 | 0.84667 | 1.896 | 0.45609 | 1.1831 | 1.3415 | 0.58016 | 0.71401 | 1.499 | 1.2379 | 0.8287 | 1.6078 | 1.461 | 0.66449 | 0.99346 | 1.2154 | 0.26236 | 1.6747 | 1.1082 | 0.87417 | 1.559 | 1.1736 | 0.98151 | 1.3502 | 1.3111

## Slide 4: Proportional
Take the error, multiply by a constant, and feed back into the system
Directly use the error
Changes applied to the system are proportional to the error
Equation:

## Slide 5: P control without tuning ()
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Error | 1.3749 | 1.0533 | 0.94578 | 1.6797 | 1.4928 | 0.97106 | 0.84667 | 1.896 | 0.45609 | 1.1831 | 1.3415 | 0.58016 | 0.71401 | 1.499 | 1.2379 | 0.8287 | 1.6078 | 1.461 | 0.66449 | 0.99346 | 1.2154 | 0.26236 | 1.6747 | 1.1082 | 0.87417 | 1.559 | 1.1736 | 0.98151 | 1.3502 | 1.3111
P control | 1.3749 | 1.0533 | -0.32163 | -1.3749 | -1.0533 | 0.32163 | 1.3749 | 1.0533 | -0.32163 | -1.3749 | -1.0533 | 0.32163 | 1.3749 | 1.0533 | -0.32163 | -1.3749 | -1.0533 | 0.32163 | 1.3749 | 1.0533 | -0.32163 | -1.3749 | -1.0533 | 0.32163 | 1.3749 | 1.0533 | -0.32163 | -1.3749 | -1.0533 | 0.32163

## Slide 6: P control with tuning ()
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Error | 1.3749 | 1.0533 | 0.94578 | 1.6797 | 1.4928 | 0.97106 | 0.84667 | 1.896 | 0.45609 | 1.1831 | 1.3415 | 0.58016 | 0.71401 | 1.499 | 1.2379 | 0.8287 | 1.6078 | 1.461 | 0.66449 | 0.99346 | 1.2154 | 0.26236 | 1.6747 | 1.1082 | 0.87417 | 1.559 | 1.1736 | 0.98151 | 1.3502 | 1.3111
P control | 1.3749 | 1.0533 | -0.18414 | -1.1321 | -0.96635 | 0.052519 | 0.92223 | 0.87497 | 0.044956 | -0.74251 | -0.78297 | -0.11471 | 0.58997 | 0.69321 | 0.16224 | -0.46165 | -0.60766 | -0.19218 | 0.35472 | 0.52768 | 0.20843 | -0.26648 | -0.45407 | -0.21424 | 0.19442 | 0.38724 | 0.21226 | -0.13626 | -0.32729 | -0.20466

## Slide 7: Integral
Running average of the error
Take the average, multiply by a constant, and feed it back into the system
Equation:

## Slide 8: I control without tuning ()
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Error | 1.3749 | 1.0533 | 0.94578 | 1.6797 | 1.4928 | 0.97106 | 0.84667 | 1.896 | 0.45609 | 1.1831 | 1.3415 | 0.58016 | 0.71401 | 1.499 | 1.2379 | 0.8287 | 1.6078 | 1.461 | 0.66449 | 0.99346 | 1.2154 | 0.26236 | 1.6747 | 1.1082 | 0.87417 | 1.559 | 1.1736 | 0.98151 | 1.3502 | 1.3111
I control | 1.3749 | 1.0533 | 0.16082 | 0.19027 | -0.534 | -0.25878 | -0.86507 | -0.41898 | -0.95288 | -0.39115 | -0.88872 | -0.25203 | -0.74019 | -0.057987 | -0.55586 | 0.15111 | -0.36928 | 0.34843 | -0.20228 | 0.5173 | -0.067721 | 0.64867 | 0.028196 | 0.73919 | 0.084145 | 0.78953 | 0.10219 | 0.80312 | 0.086608 | 0.7851

## Slide 9: I control With tuning ()
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Error | 1.3749 | 1.0533 | 0.94578 | 1.6797 | 1.4928 | 0.97106 | 0.84667 | 1.896 | 0.45609 | 1.1831 | 1.3415 | 0.58016 | 0.71401 | 1.499 | 1.2379 | 0.8287 | 1.6078 | 1.461 | 0.66449 | 0.99346 | 1.2154 | 0.26236 | 1.6747 | 1.1082 | 0.87417 | 1.559 | 1.1736 | 0.98151 | 1.3502 | 1.3111
I control | 1.3749 | 1.0533 | 0.56763 | 0.16819 | -0.1482 | -0.38947 | -0.56455 | -0.68237 | -0.75134 | -0.77925 | -0.7732 | -0.73959 | -0.68412 | -0.61187 | -0.5273 | -0.43431 | -0.33627 | -0.23608 | -0.13622 | -0.038739 | 0.054639 | 0.14253 | 0.22383 | 0.29771 | 0.36355 | 0.42093 | 0.46964 | 0.50958 | 0.54081 | 0.56351

## Slide 10: PI Control tuned ()
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Error | 1.3749 | 1.0533 | 0.94578 | 1.6797 | 1.4928 | 0.97106 | 0.84667 | 1.896 | 0.45609 | 1.1831 | 1.3415 | 0.58016 | 0.71401 | 1.499 | 1.2379 | 0.8287 | 1.6078 | 1.461 | 0.66449 | 0.99346 | 1.2154 | 0.26236 | 1.6747 | 1.1082 | 0.87417 | 1.559 | 1.1736 | 0.98151 | 1.3502 | 1.3111
P control | 1.3749 | 1.0533 | 0.022093 | -0.76785 | -0.78442 | -0.20853 | 0.37978 | 0.53618 | 0.25135 | -0.15079 | -0.3393 | -0.22621 | 0.028269 | 0.19792 | 0.17672 | 0.028279 | -0.10426 | -0.12547 | -0.047275 | 0.046829 | 0.082285 | 0.047164 | -0.01455 | -0.049923 | -0.03901 | -0.001568 | 0.02769 | 0.028866 | 0.0080984 | -0.013551
I control | 1.3749 | 1.0533 | 0.74974 | 0.48492 | 0.25599 | 0.060052 | -0.10573 | -0.24406 | -0.35747 | -0.44835 | -0.51893 | -0.5713 | -0.6074 | -0.62905 | -0.63792 | -0.63556 | -0.62342 | -0.60283 | -0.57501 | -0.54108 | -0.50209 | -0.45898 | -0.41261 | -0.36378 | -0.31319 | -0.26149 | -0.20926 | -0.15704 | -0.10527 | -0.054383
PI control | 1.3749 | 1.0533 | -0.28143 | -1.2503 | -1.0952 | -0.14759 | 0.68826 | 0.78674 | 0.23527 | -0.39267 | -0.59341 | -0.30749 | 0.1361 | 0.36275 | 0.25051 | -0.035212 | -0.23535 | -0.21702 | -0.045117 | 0.11387 | 0.1427 | 0.050823 | -0.062954 | -0.10685 | -0.064055 | 0.012475 | 0.05693 | 0.043593 | -0.0033329 | -0.040081

## Slide 11: Derivative control
Derivative = the slope of the line at one point
Take the slope, multiply by a constant, and feed back into the system
Equation:

## Slide 12: Derivative untuned
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Error | 1.3749 | 1.0533 | 0.94578 | 1.6797 | 1.4928 | 0.97106 | 0.84667 | 1.896 | 0.45609 | 1.1831 | 1.3415 | 0.58016 | 0.71401 | 1.499 | 1.2379 | 0.8287 | 1.6078 | 1.461 | 0.66449 | 0.99346 | 1.2154 | 0.26236 | 1.6747 | 1.1082 | 0.87417 | 1.559 | 1.1736 | 0.98151 | 1.3502 | 1.3111
D control | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533 | 1.3749 | 1.0533

## Slide 13: What happened?
Derivative on it’s on is not commonly used
Too impulsive and oscillates as show
Caleb’s formula is simulating “perfect world” where everything happens instantly
In the real world, this should not happen to such a great effect

## Slide 14: When to use what?
In many cases, proportional control alone is enough
If there is consistent error that happens for a long period of time, integral can help
Derivative is good if proportional overshoots a lot

## Slide 15: Tuning PID
Adjust P first and see if that alone will solve your problem
If there is small and consistent error, increase I
If P overshoots, increase D
If the whole thing is oscillating like crazy, turn everything down